## Sheet1
BAU (nominal values) | No. | Name | Value | Type | Description and assumptions | Units | Source
Input factors | 1 | Simulation start and end, Market start | Start date: historic data from 1902 Market official start date: July 1999 End date: forecasts until 2050 | Date | Historic official dates. Forecasts values are used from the "base year" until the "end year". | Nd. | Data gathered from 1902. Historic market demand data available from 1999.
| 2 | Area code | VIC for Victoria | String | The SPM will represent all Victoria. | Nd. | NA
| 3 | Annual CPI | 0.032954 | Real | Median historic CPI changes from 1948 and 2019 (base year). | Nd. | https://www.rateinflation.com/consumer-price-index/australia-historical-cpi.php?start-year=1948&end-year=2020
| 4 | Annual inflation | 0.033 | Real | Used to find the impact of inflation in LCOEs of the different generation technologies. Applies from the start date of the market. Nominal is median value of historic data. | Nd. | https://www.rateinflation.com/inflation-rate/australia-historical-inflation-rate.php?start-year=1949&end-year=2019
| 5 | Maximum households per consumer SPM | Fixed to the maximum number an Integer can have. (i.e 2147483647). | Integer | Number of households per SPM at consumer level. Set to maximum to represent all Victoria with one SPM. | Nd. | NA
| 6 | Base year | 2019 | Integer | Year from which the forecasts are applied. | Nd. | NA
| 7 | Consideration of emerging projects | False | Bool | Decision variable to include projects of new generation that are in the early phases. E.g. projects that have been only publicly announced or are emerging but haven't been committed yet. | Nd. | If is set to false, only gathers the generation that is commited for future years. The list of generators is gahered from https://www.aemo.com.au/energy-systems/electricity/national-electricity-market-nem/nem-forecasting-and-planning/forecasting-and-planning-data/generation-information
| 8 | Roll out period for new generation | 1 | Integer | Applies to all new generation after the base year. The nameplate capacity is divided among the number of years chosen for the incremental roll out. In BAU the roll out of committed generation is assumed to happen in the same year. | years | This input varies expected date of commercial use published in https://www.aemo.com.au/energy-systems/electricity/national-electricity-market-nem/nem-forecasting-and-planning/forecasting-and-planning-data/generation-information
| 9 | Generation retirement | 0 | Integer | Shift on closure date for brown coal generators. BAU assumed to be 0, meaning that the (expected) closure date of coal power plants remains unchanged. | years | This input varies expected closure dates of brown coal power stations published in https://www.aemo.com.au/energy-systems/electricity/national-electricity-market-nem/nem-forecasting-and-planning/forecasting-and-planning-data/generation-information
| 10 | Technological improvement | 0.01 | Real | Improves capacity factors of renewable technologies (only wind and solar) by adding a constant factor every year (not compounded). | Nd. | Assuming a 1% technological improvement.
| 11 | Learning curve | 0.05 | Real | Decreases LCOE (compounded) according to learning curve. Applies only to wind and solar. | Nd. | Assuming a 5% decrease in LCOE given renewable technology maturity.
| 12 | Rooftop solar | both | String | Decision variable to include forecasts on rooftop PV generation from "residential", "business", or both. | Nd. | This input sets the forecast of ISP on rooftop solar installations obtained here: http://forecasting.aemo.com.au/Electricity/MaximumDemand/Operational
| 13 | Solar installed capacity | 6.3 | Real | Size (capacity) of solar systems. Use to estimate the number of units installed according to the forecast for | kW | Maximum system size for residential solar PV in Victoria
| 14-19 | Minimum and maximum LCOE per fuel type | (landfill) Biogas: 14-40 \$/MWh; Diesel: 250-300 \$/MWh; Brown coal:15 - 80 \$/MWh; Gas OCGT: 63-800 \$/MWh; Gas CCGT: 58-300 \$/MWh; Wind: 80-200 \$/MWh; Hydro: 22-150 \$/MWh; Solar: 100-170 \$/MWh. | Real | Minimum and maximum LCOEs depending on CF (supply curve) Use to find the LCOE according to the capacity factor of each generation type. | \$/MWh | http://www.co2crc.com.au/wp-content/uploads/2016/04/LCOE_Executive_Summary.pdf; New Power Cost Comparisons report from 2015 www.atse.org.au, https://www.lazard.com/perspective/lcoe2019, AER 2018 Wholesale Electricity Market Performance report (https://aer.gov.au/wholesale-markets/market-performance/aer-wholesale-electricity-market-performance-report-2018)
| 20-25 | Minimum and maximum Capacity Factors (CF) per generation type | (landfill) Biogas and Diesel: 0.0-0.9; Brown coal: 0.47-0.9 and 0.95 in summer. Gas OCGT: 0.08-0.26, summer: 0.928; Gas CCGT: 0.22-0.64; Wind: 0.28-0.38; Hydro: 0.05- 0.9; Solar: 0.1-0.25, summer: 0.4 | Real | Sets up the maximum and minimum CF for each generation technology. In a the period of analysis, 0 for no energy output and 1 is the maximum possible electrical energy output. | Nd. | AER 2018 Wholesale Electricity Market Performance report (https://aer.gov.au/wholesale-markets/market-performance/aer-wholesale-electricity-market-performance-report-2018)
| 26 | Minimum nameplate capacity for schedule generation to participate in the primary (wholesale) market | 30 | Real | Minimum nameplate capacity for a schedule generator to be able to participate in the wholesale market. | MW | Generation units regulation (https://www.aemc.gov.au/sites/default/files/2020-06/NER%20-%20v142%20-%20Chapter%202.pdf) Also, participant categories from AEMO (https://www.aemo.com.au/learn/market-participants/electricity-market-participants)
| 27 | Markets for schedule generation | Primary | String | Decision variable to choose if schedule generation participates in: "primary", "secondary", or "none". |  | NA
| 28 | Minimum nameplate capacity for semi-schedule generation to participate in the market | 30 | Real | Minimum nameplate capacity for a semi-schedule generator to be able to participate in the wholesale market. | MW | Generation units regulation (https://www.aemc.gov.au/sites/default/files/2020-06/NER%20-%20v142%20-%20Chapter%202.pdf) Also, participant categories from AEMO (https://www.aemo.com.au/learn/market-participants/electricity-market-participants)
| 29 | Markets for semi-schedule generation | Primary | String | Decision variable to choose if semi-schedule generation participates in: "primary", "secondary", or "none". | Nd. | NA
| 30 | Markets for non-schedule generation | none | String | Decision variable to choose if non-schedule generation participates in: "primary", "secondary", or "none". | Nd. | NA
| 31 | Minimum nameplate capacity for non-schedule generation to | 0.1 | Real | Minimum nameplate capacity for a non-schedule generator to be able to participate in the | MW | NA
| 32 | Wholesale contribution to residential tariff | 28.37 | Real | Percentage of contribution from the wholesale price to the tariff. The remainder contribution to the tariff corresponds to network charges (transmission and distribution), retail, and other policies. | \% | Nominal is set to the median value from historic data that ranges between min (11.37%) and max (45.37%) . Computed from the 2017 ACCC report on “Victorian Electricity Distribution Businesses” pg. 37 used to calculate the percentage contribution from wholesale prices to tariffs
| 33 | Emission factors per technology type | (landfill) Biogas: 0.062; Diesel: 0.957; Brown coal 1.23 tCO2-e/MWh; Brown coal: 1.23; Gas OCGT 0.56; Gas CCGT 0.49; Wind 0.0024 (average Scope 1); Hydro 0.0003 (average Scope 1); Solar 0.031 ((average Scope 1) | Real | Average emission factors per generation type. | tCO2-e/MWh | http://www.cleanenergyregulator.gov.au/NGER/National%20greenhouse%20and%20energy%20reporting%20data/electricity-sector-emissions-and-generation-data
| 34 | Residential sector | 30 | Real | Percentage of energy use from the residential sector. | \% | Average historic residential demand.
| 35 | Solar efficiency factors (fman, fdirt, ftemp, inverter, and cables) | solarEfficiency = fman * fdirt * ftemp * npv_inv * ninv * ninv_sb; - de-rating factor for manufacturing tolerance, dimensionless fman: 0.97 - de-rating factor for dirt, dimensionless fdirt: 0.95 - temperature de-rating factor, dimensionless, ƒtemp = 1 + (γ × (avg temp) y=-.005 * 20 - y is the temperature coefficient, using example from CEC guidelines as -0.5%/C and average daily temperature of 20C - the de-rating factor increases with increasing average daily temperatures. ftemp: 0.9 - efficiency of the subsystem (cables) between the PV array and the inverter (DC cable loss) npv_inv: 0.97 - efficiency of the inverter. Typically 0.9 ninv: 0.9 - efficiency of the subsystem (cables) between the inverter and the switchboard (AC cable loss) - recommended voltage drop between inverter and main switch shouldn't be greater than 1%, ninv_sb: 0.99 | Real | Factors to compute solar system's efficiency. | Nd. | https://assets.cleanenergycouncil.org.au/documents/accreditation/grid-connected-solar-pv-systems-design-guidelines-2013.pdf
Input data (historic and forecasts) | 35 | Consumption | Forecast: "Central" scenario from ISP | Table (historic and forecast) | Historic consumption is computed using historic demand data. Residential historic uses the historic number of households. From the base year, consumption uses available forecast data. | GWh | Forecast scenarios from ISP 2019-20 http://forecasting.aemo.com.au/Electricity/MaximumDemand/Operational
| 36 | Energy efficiency savings | Forecast: "Central" scenario from ISP | Table | Energy efficiency forecast, which is assumed as savings therefore is subtracted from the consumption. | GWh | https://aemo.com.au/energy-systems/electricity/national-electricity-market-nem/data-nem/aggregated-data
| 37 | Onsite generation | Forecast: "Central" scenario from ISP | Table (historic and forecast) | Corresponds to forecast of small non-schedule generation and it is subtracted from consumption. | GWh | https://aemo.com.au/energy-systems/electricity/national-electricity-market-nem/data-nem/aggregated-data
| 38 | Solar uptake | Forecast: "Central" scenario from ISP | Table (historic and forecast) | Historic data on solar installations and forecast of solar uptake. | GWh | https://aemo.com.au/energy-systems/electricity/national-electricity-market-nem/data-nem/aggregated-data
| 39 | Number of households | Historic and forecast data for Victoria population | Integer | Historic and forecast data on number of households in the area of analysis. | Nd. | http://www.delwp.vic.gov.au/planning/forward-policy-and-research/victoria-in-future-population-and-household-projections/
| 40 | Generators data (assets and actors) | Historic and generation information released by AEMO | Table | Table with id, region, type, name, owner name, fuel type, no. units, nameplate capacity, dispatch type, status, full commercial use date, expected closure date, and closure date. | Nameplate capacity in MW | https://www.aemo.com.au/energy-systems/electricity/national-electricity-market-nem/nem-forecasting-and-planning/forecasting-and-planning-data/generation-information
| 41 | Network data (assets and actors) |  | Table | Table with id, type, name, owner name, grid losses, grid voltage, owner id, start date, change date. | Voltage in kV | https://www.aemo.com.au/-/media/files/electricity/nem/planning_and_forecasting/maps/victorian-shared-electricity-transmission-network---topological-representation.pdf?la=en | https://www.aemo.com.au/-/media/files/electricity/nem/planning_and_forecasting/maps/nem-slds.pdf?la=en
| 42 | CPI conversion | Historic CPI data before base year, and future CPI is set to 0.032954 for the baseline. | Table | Table with CPI. To find what would cost in the "base year" a basket of goods and services valued at \$X in a previous year. Used to find tariff prices at the "base year". | Table
| 43 | Solar ghi | Historic data on GHI. From the base year onwards is a forecast based on data in the previous year (i.e. base year - 1). | Real | Table with historic global horizontal irradiation (ghi). Forecast from the base year. | W/ m2 | Solar historic data downloaded from https://www.nationalmap.gov.au/renewables, which is downloaded from http://www.bom.gov.au/climate/data/oneminsolar/about-IDCJAC0022.shtml Data was processed, therefore data only contains the 30 minute mean (from minute data) of the Globa Horizontal Irradiation in in w/ sq m. The data is from the station 086282, which corresponds to Melbourne Airport.
| 44 | Solar installations | Historic number of isntallations from 2007. Forecast of solar installs use solar PV ISP forecast and a solar system average size. | Table | Table with number of installations, aggregated system capacity in kW, and system capacity (number of installations/aggregated). | kW | Number of installations per month from 2007. Original source of data: https://pv-map.apvi.org.au/postcode
| 45 | Demand data |  | Real | Table with historic demand data for the area of analysis. | MW | Historic demand data from https://aemo.com.au/energy-systems/electricity/national-electricity-market-nem/data-nem/aggregated-data
| 46 | SPM (name, number, components) |  | Table | Table with SPM id, name, network, contained spm, and description. | Nd.
| 47 | Actor types |  | Table | Table with actor id, name, registration date, change date, region, role (generator, retailer, etc), business structure | Nd.
| 48 | Strategic relationships |  | Table (historic) | Table with actor A id, actor B id, and strategic relationship type e.g. holder, partner, etc. | Nd.
| 49 | Population data |  | Table | Census data and forecast of number of households per household type (e.g. couple with children, couple without children, lone person) | Nd.
| 50 | Other demographic data |  | Table | Income per household, family and dwelling type. | \$
| 51 | Energy requirements |  | Table | Table with energy requirements per dwelling type, age, occupancy profile, household composition, fuel mix, average floor area | kWh/year | IMAP CSRIO data
| 52 | Gas tariffs |  |  | Used in the Energy Vulnerability indicator |  | https://www.energy.gov.au/sites/default/files/gas_price_trends_review_2017.pdf https://www.aemo.com.au/-/media/Files/Electricity/NEM/Planning_and_Forecasting/Inputs-Assumptions-Methodologies/2019/CORE_Delivered-Wholesale-Gas-Price-Outlook_16-January-2019.pdf |  | Most of electricity consumed in Victoria was used for electricity generation in 2009-10, 39.2%. https://www.abs.gov.au/ausstats/abs@.nsf/Lookup/by+Subject/1367.0~2012~Main+Features~Energy+Consumption~3.38
on price trends and breakdown of tariffs: https://www.aemc.gov.au/sites/default/files/2018-12/2018%20Price%20Trends%20-%20Final%20Report%20-%20CLEAN.PDF
Gas prices projections: https://www.energynetworks.com.au/resources/reports/gas-electricity-substitution-projects-to-2050/